COSHOCTON COUNTY

GENERAL HEALTH DISTRICT

724 South Seventh Street

Coshocton, Ohio  43812

Ph. 740 622-1426  Fax 740 295-7576

e-mail coshcohealth@coshoctoncounty.net

Steps for homeowners to obtain sewage permits

- Property owner contacts a soil evaluator to get a “site and soil evaluation” that accurately describes the lot and soil characteristics.

- Property owner takes site and soil evaluation report to a system designer who will design a sewage treatment system based on the site and soil evaluation and the homeowner’s particular plans and needs.

- The property owner then goes to the health department and submits a “Site Review Application” along with copies of the completed site and soil evaluation and the completed system design. The “Site Review” fee is $100.00.

- Health department staff will review the application and accompanying information to determine whether the proposed plans are applicable and are in compliance with the rules and regulations.

- After the application has been approved, the property owner can then obtain an installation permit from the health department to have the sewage treatment system installed by a registered contractor. The “Permit to Install” fee is $394.00 which includes the state fees and a 5 year Operation Permit.

- After the system is installed, the installer and the designer will provide an “as built record” and warrant that the system was installed according to the approved plan.

- The health department will then inspect the installation and approve the as built record.

- The property owner is then issued an operation permit to use the sewage system.  Operation permits are valid for five years and must be renewed with the health department.

Visit the Coshocton County Health Department’s website: www.coshoctoncounty.net , for lists of sewage contractors, soil evaluators, system designers and application forms.