STEPS FOR HOMEOWNERS TO OBTAIN SEWAGE PERMITS

- Property owners contacts a soil evaluator to obtain a “site and soil evaluation” that accurately describes the lot and soil characteristics.

- Property owner takes site and soil evaluation report to a system designer who will design a sewage treatment system based on the site and soil evaluation and the homeowner’s particular plans and needs.

- The property owner then submits a “Site Review Application” along with both copies of the completed site and soil evaluation and the completed system design to the health department.

- Health Department staff will review the application and accompanying information to determine whether the proposed plans are applicable and in compliance with the rules and regulations.

- After the application has been approved, the property owner can then obtain an installation permit from the health department to have the sewage treatment system installed by a registered contractor.

- After the system is installed, the installer and designer will provide an “as built record” and warrant that the system was installed according to the approved plan.

- The health department will then inspect the installation and approve the as built record.

- The property owner will be issued an operation permit to use the sewage system.  Operation permits are valid for five years and must be renewed by the health department.

- Keep all records or pumping information as part of the operation and maintenance tracking program.  Recommend to pump every 2-3 years based on usage

Present fees are:	Site Review Application	    $170.00

Septic Installation permits      $500.00 ($500 local fee, $74.00 state fee)

$50.00 (Operation & Maintenance fee - 5 years)

Visit the Health District’s website: www.coshoctoncounty.net/health, for a list of sewage contractors, soil evaluators, system designers and application forms.