[image: image4.png]Coshocton

Public Health

Prevent. Promote. Protect.





Environmental Services

637 Chestnut Street, Coshocton, OH 43812

(740) 622-1426 | (740) 295-7576 | www.coshoctoncounty.net/health

SAMPLING PROCEDURES
· Water samples MUST be collected in the sample bottles provided by the laboratory. (Clear Bottle w/ White Lid)
· Samples are due back to the health department by 11:00am on Wednesday.

· Do not collect the sample more than 24 hours before pickup. (Collection can be done anytime after 12:00pm on a Tuesday, OR in the morning on a Wednesday.)
· Do not sample from garden hoses or dirty faucets.

· Sampling should be performed at the location of the pressure tank if you have access to it. If not, thoroughly rinse and sanitize the faucet with bleach, then allow the water to run several minutes before collecting the sample.

· DO NOT RINSE OUT THE BOTTLE.  (The tablet/powder is a preservative put in the bottle by the lab). Take caution not to touch the rim of the bottle or the inside of the cap with your fingers.
· Fill the bottle to the bottom of the neck of the bottle and immediately replace the cap.

· Please make sure to record date, time and sampling location.

· Refrigerate or keep cool until sample submitted to the health department.
· Samples analyzed for the presence of coliform bacteria and e coli bacteria.  The test will only show if bacteria are present or not in the water. 

· The fee for a bacteria test is $35.00 (due when the water sample submitted to the health department.)
· Results are usually received on Friday (results will be mailed to the address provided with the sample)
[image: image1][image: image2][image: image3]
Rev. 11/2025 ode


[image: image4.png]